## README
HAZEN PERCENTILE CALCULATOR
Calculates the Pth percentile of up to 2000 data, for multiple sites, using the Hazen formula.
Prepared by G McBride and G Payne, NIWA, Hamilton, NZ, September 2002 & May 2009.
Instructions
You should have chosen "Enable Macros" on start-up. If not, start again! Enter a value for P in the
green cell below and enter the data on the "Data" sheet (instructions will pop up). Results are in
blue cells below. Detailed workings are shown on the "Hazen_Calculator sheet, if you want to know!
Notes | * Replace all "less than" data by half their detection limit
(e.g., replace "<3" by 1.5, replace "<5" by 2.5, …)
* Replace all "greater than" data by their detection limit plus 1
(e.g., replace ">1600" by 1601, replace >2300 by 2301, ...)
* If an upper percentile equals the "greater than" detection limit + 1, be careful--the
actual percentile will be greater than that calculated, by an unknown amount.
* You will be told (in red!) if you don't have enough data to calculate the percentile
* Be suspicious if many of your data have the same upper limit: could be lost ">" signs
What percentile? |  | P = | 95 | (e.g., enter 95 for the 95th percentile)
How many data? |  | You'll need at least |  | 10 | data.
Result |  | Hazen P%ile = | See Results Sheet |  | You'll only get a result here if you have
just one site; otherwise see Results sheet
Calculation procedure
Say you have n data, Xi, such that i = 1, 2, … , n. The Hazen procedure used is:
1 Rank the n data from lowest to highest; call these ranked data Yi: i = 1, 2, …, n.
2 Compute the percentile fraction (i.e., proportion) as
p = P/100
3 Check if there are enough data to make the calculation, i.e., if
n >= 1/[2(1-p)] and n >= 1/(2p)
[the first limit applies for an upper percentile (p > 1/2), and vice versa]
4 If there are enough data then calculate the Hazen rank (usually non-integer)
rHazen = 1/2 + pn
5 Interpolate between integer ranks (i.e., ranked data) adjacent to the Hazen rank using
Hazen Pth percentile = (1-rf)Yri + rfYri+1
where ri = the integer part of rHazen and rf = fractional part of rHazen
[note that the formula still works if there is just enough data, i.e., for
equalities, instead of inequalities, in the equations in item 3 above]
Note that there is no one correct way to calculate percentiles. The Hazen method is a
"middle-of-the-road" option. Other estimators use the same procedure but with a
different minimum number of data and a different r formula (in Steps 3 & 4), as follows:
| rBlom = | 3/8 + p(n+1/4), requiring |  |  | n >= (3+2p)/[8(1-p)] and n >= (5-2p)/(8p)
| rTukey = | 1/3 + p(n+1/3), requiring |  |  | n >= (1+p)/[3(1-p)] and n >= (2-p)/(3p)
| rWeibull = | p(n+1), requiring |  |  | n >= p/(1-p) and n >= (1-p)/p
| rExcel = | 1 + p(n-1), requiring |  |  | n >= 1 (which is dashed odd!)
(The Excel option always give the lowest percentile; Weibull always gives the highest.)

## Data
S1 | S2 | S3 | S4 | S5 | S6
100 | 100 | 3 | 100 | 3 | 3
40 | 40 | 4 | 40 | 4 | 4
77 | 77 | 11 | 77 | 11 | 11
41 | 41 | 14 | 41 | 14 | 14
73 | 73 | 34 | 73 | 33 | 33
48 | 48 | 22 | 48 | 22 | 22
78 | 78 | 11 | 78 | 11 | 11
89 | 89 | 12 | 89 | 12 | 12
62 | 62 |  | 62 | 22 | 22
16 | 16 |  | 16 | 23 | 23
63 | 63 |  | 63 |  | 24
17 | 17 |  | 17
93 | 93
97 | 97
54 | 54
40 | 40
66 | 66
4 | 4
66 | 66
52 | 52
85
84
26
8
27
77
38
34
86

## Results
Results sheet for Hazen calculator
Site | S1 | S2 | S3 | S4 | S5 | S6
Percentile | 95 | 95 | 95 | 95 | 95 | 95
Minimum data points needed | 10 | 10 | 10 | 10 | 10 | 10
Number data points you have | 29 | 20 | 8 | 12 | 10 | 11
Data minimum | 4 | 4 | 3 | 16 | 3 | 3
Data maximum | 100 | 100 | 34 | 100 | 33 | 33
Hazen result | 97.15 | 98.5 | Not Enough Data | 98.9 | 33 | 32.55

## Hazen_Calculator
Raw data | Sorted data | Rank | This sheet is used by the embedded Macro to perform its
3 | 3 | 1 | calculations. DO NOT amend it.
4 | 4 | 2
11 | 11 | 3
14 | 11 | 4 |  | Calculation results
33 | 12 | 5
22 | 14 | 6 |  | P = | 95
11 | 22 | 7 |  | n = | 11
12 | 22 | 8 |  | rHazen = | 10.95
22 | 23 | 9 |  | Hazen percentile = | 32.55
23 | 24 | 10
24 | 33 | 11

## Test_Case
Site 12
100 | If you enter the data shown in cells A2:A30 into the same cells
40 | on the "Data" sheet. You should get these reults:
77
41 |  | Calculation results
73
48 |  | P = | 95
78 |  | n = | 29
89 |  | rHazen = | 28.05
62 |  | Hazen percentile = | 97.15
16
63 | If you don't get these results something has been corrupted,
17 | in which case contact me (g.mcbride@niwa.co.nz)
93
97
54
40
66
4
66
52
85
84
26
8
27
77
38
34
86